## iKAGRA mirrors
|  | JGWdoc | Diameter | Thickness |  | Wedge | Roc |  | Sagitta | Arrow |  |  | Current Status
|  |  |  | at the center | at the max.
|  |  | mm | mm |  | degree | m |  | mm |  | degree
| PR2 | D1402292-v1 | 249.97 | 94.3 | 98.7535 | 2.042 | -3.0764 |  | -2.5389 | at Min. thickness |  | ** | not yet delivered
| PR3 | D1402293-v1 | 249.98 | 94.6 | 99.0035 | 2.019 | 24.9165 |  | 0.3135 | at Min. thickness |  | ** | not yet delivered
Begging of April
| BS | D1100713-v1 | 370.15-370.18 | 80.2329 | 80.49 | 0.0796 | 1051k/366k | CSIRO | 0 | at Min. thickness |  |  | at CALTECH
[7 empty] | 690k/180k | CALTECH | 0 | only one arraw |  |  | End of Apr -- Biggining of May
Silica | ETM01 | D1100718-v2 | 250.75 | 95.2545 | 99.63 | 2 | 7.24k |  | 1.0856 | at Min. thickness |  | ** | at ICRR
Silica | ETM02 |  | 250.88 | 95.5522 | 99.93 | 2 | 7.24k |  | um | at Min. thickness |  | ** | at ICRR
**LIGO original mark remains
0, 90, 180, 270 degree